Cell Segmentation & Counting

Software Explanation: every module and function, and why it exists

Introduction to AI — Final Project, Topic 3

Microscopy cell adhesion segmentation and counting

U-Net (ResNet34) + Distance Transform + Watershed, Gradio interface

Contents

1. What the software does	3

2. Folder structure	3

3. config.py: shared settings	3

4. core/: the pipeline	4

4.1 core/preprocess.py — class Preprocessor (Step 1)	4

4.2 core/unet_model.py — U-Net (Step 2)	4

4.3 core/postprocess.py — class MaskRefiner (Step 3)	5

4.4 core/watershed.py — class WatershedSplitter (Step 4)	6

4.5 core/analysis.py — class CellAnalyzer (Step 5)	6

4.6 core/pipeline.py — class CellCountingPipeline (the orchestrator)	6

5. utils/: helpers	7

5.1 utils/device.py	7

5.2 utils/logger.py	7

5.3 utils/metrics.py — evaluation	7

5.4 utils/visualize.py — images for the UI	8

6. training/: how the U-Net was trained	8

6.1 training/dataset.py	8

6.2 training/losses.py	9

6.3 training/train.py	9

7. Experiments	10

7.1 tuning.py — finding the best default parameters	10

7.2 ablation.py — comparing parameter sets	10

8. app.py: the user interface (Gradio)	10

9. tests/: 36 automatic tests	11

10. Final results (test split, 67 unseen images)	12

11. Summary	12

1. What the software does

The user uploads a microscope image of cells. The software finds every cell, splits cells that touch each other, counts them, measures the area of each one, and shows the results in a web page built with Gradio.

The 5-step pipeline:

| 1. Preprocess CLAHE + blur | 2. U-Net probability per pixel | 3. Mask clean-up threshold + morphology | 4. Watershed split touching cells | 5. Analysis count, area, histogram, CSV |
| --- | --- | --- | --- | --- |

Why use 5 steps instead of one model?

- The U-Net (deep learning) is good at deciding whether a pixel is “cell” or “background”. It does not separate two cells that touch.

- The watershed (classical image processing) is good at splitting touching objects. It needs a clean mask as input.

- Putting them together gives each method the job it does best. Each step also has its own sliders, so the user can see and control what every step does.

2. Folder structure

| Path | Contents |
| --- | --- |
| cell_seg/app.py | Web UI (Gradio) |
| cell_seg/config.py | Default parameters + shared data types |
| cell_seg/core/ | The 5 pipeline steps + the orchestrator |
| cell_seg/utils/ | Device, logging, metrics, visualisation helpers |
| cell_seg/training/ | Dataset loader, loss, training loop |
| cell_seg/tuning.py | Grid search for the best parameters |
| cell_seg/ablation.py | Compares parameter sets on one image |
| cell_seg/tests/ | 36 automatic tests |
| cell_seg/weights/ | Trained U-Net (unet_cells.pth) |
| cell_seg/samples/ | 3 example images + ground truth |
| cell_seg/outputs/ | CSV files, logs, plots |

3. config.py: shared settings

| Item | What it is | Why I made it |
| --- | --- | --- |
| ROOT_DIR, WEIGHTS_PATH, SAMPLES_DIR, OUTPUTS_DIR | Fixed folder paths | Every file uses the same paths, so the program works from any folder. |
| Params | The 7 slider values: clip, blur_k, thresh, kernel, peak_ratio, min_dist, min_area | One place for the default values. The UI, the pipeline, tuning and the tests all read them from here. |
| CellInfo | One cell: id, area, centroid, bbox | A clear structure for the per-cell measurements. |
| PipelineResult | Everything one run produces: images, cells, count, probability map, mask, labels, warnings | The UI needs the images. Metrics and ablation need the raw arrays. One object carries both. |

4. core/: the pipeline

4.1 core/preprocess.py — class Preprocessor (Step 1)

| Function | What it does | Why I made it |
| --- | --- | --- |
| run(img, clip, blur_k) | Converts the image to 8-bit grayscale, applies CLAHE (local contrast boost) and then a Gaussian blur | Microscope images often have uneven light and faint cells. CLAHE makes dark areas visible. The blur removes noise. Training uses exactly the same preprocessing, so the model sees the same kind of image in both cases. |
| _validate(...) | Rejects empty images, wrong shapes, images smaller than 32 px, unsupported data types, and clip ≤ 0 | Gives a clear error message instead of a crash. |
| _to_uint8(img) | Converts 16-bit or float images to the 0–255 range | Many microscopes save 16-bit TIF files. OpenCV’s CLAHE needs 8-bit input. |
| _to_gray(img) | Converts RGB, RGBA or 1-channel images to grayscale | Stain colours differ between labs. Shape and brightness are what matter for finding cells. |

4.2 core/unet_model.py — U-Net (Step 2)

| Function | What it does | Why I made it |
| --- | --- | --- |
| build_unet() | Builds a U-Net with a ResNet34 encoder, 3 input channels and 1 output channel | Training and the app must use exactly the same network, so it is defined once. ResNet34 is pretrained on ImageNet, which lets it learn well from a small dataset. |
| UNetSegmenter.__init__ | Checks that the weights file exists, loads it, sets eval mode and moves the model to GPU or CPU | If the file is missing or wrong, the user sees a plain message telling them what to do. |
| _read_state_dict | Reads either a raw weights file or a checkpoint dictionary, using weights_only=True | Supports both file formats. weights_only=True is a safety measure: the file cannot run hidden code. |
| _to_device | Moves the model and the normalisation tensors to a device | Needed when the model has to switch from GPU to CPU. |
| predict_prob(img) | Returns a probability map: one value from 0 to 1 per pixel, meaning “how likely this pixel is a cell”. If the GPU runs out of memory, it retries with tiles, and then on the CPU. | The app must not crash on large images or small GPUs. |
| _forward(img) | Pads the image to a multiple of 32, copies gray into 3 channels, applies ImageNet normalisation, runs the network, applies sigmoid, and crops back | ResNet34 halves the image size 5 times (2⁵ = 32), so the size must divide by 32. Reflect padding avoids dark borders. The normalisation matches how the encoder was pretrained. |
| _tiled(img) | Runs the model on 512×512 tiles that overlap by 64 px and averages the overlaps | Uses much less memory. The result agrees with the full-image result on 99.98 % of mask pixels. |
| _starts(n) | Calculates where each tile starts | Helper for _tiled. |
| _is_oom, _empty_cache | Detect a GPU out-of-memory error and free GPU memory | Helpers for the fallback chain. |

4.3 core/postprocess.py — class MaskRefiner (Step 3)

| Function | What it does | Why I made it |
| --- | --- | --- |
| run(prob, thresh, kernel, min_area) | 1. Pixels with probability > τ become “cell”. 2. Opening removes small specks. 3. Closing closes small gaps. 4. Fill holes. 5. Removes blobs smaller than min_area. | The raw U-Net output has noise, holes and debris. This step produces a clean binary mask. |
| _validate | Checks that the map is 2-D, has values in [0, 1], has no NaN, and that the parameters are valid | A NaN value would silently turn into background, so it is rejected. |
| _remove_small(mask, min_area) | Labels the connected blobs (8-connected) and keeps those with area ≥ min_area | I wrote this myself because the matching scikit-image function changed its behaviour between versions. This version behaves the same everywhere. |

4.4 core/watershed.py — class WatershedSplitter (Step 4)

| Function | What it does | Why I made it |
| --- | --- | --- |
| run(img, mask, peak_ratio, min_dist) | 1. Distance transform: each cell pixel gets its distance to the background, so the centre of a cell is a “mountain top”. 2. Finds seeds at those peaks. 3. Runs watershed from the seeds. | Two touching cells form one blob in the mask but have two mountain tops. Watershed “floods” from each top and draws the border where the two floods meet. That is how touching cells get separated. |
| _seeds(...) | Finds local peaks at least min_dist px apart. Keeps a peak only if it is ≥ peak_ratio × the highest peak of its own blob. Every blob gets at least 1 seed. | My first version compared each peak with the highest peak in the whole image. On the dense sample, 10 of 30 blobs then got no seed, because small cells next to big cells were dropped. Comparing within each blob fixed this. The “at least 1 seed” rule makes sure no cell disappears from the count. |
| _validate | Checks that image and mask sizes match and that the parameters are in range | Clear error messages. |

4.5 core/analysis.py — class CellAnalyzer (Step 5)

| Function | What it does | Why I made it |
| --- | --- | --- |
| renumber(labels, min_area) | Drops tiny regions and numbers the cells 1…N in reading order (top to bottom, then left to right) | The number drawn on the image matches the row in the CSV, so the user can find “cell 17” easily. |
| run(labels, min_area) | Measures each cell’s id, area, centre and bounding box | These are the per-cell measurements. |
| histogram(cells) | Draws a histogram of cell areas with mean and median lines | Shows the size distribution at a glance. It uses Figure instead of pyplot, which is safe inside a web server. |
| summary(cells) | Returns count, mean, median and standard deviation of the area | Feeds the summary strip in the UI. |
| to_dataframe(cells) | Builds a table with one row per cell | Used for the CSV download and the Measurements tab. |
| _validate | Checks the label image | Clear errors. |

4.6 core/pipeline.py — class CellCountingPipeline (the orchestrator)

| Function | What it does | Why I made it |
| --- | --- | --- |
| __init__ | Creates the 5 step objects. The U-Net is loaded lazily, only on the first run. | The app opens fast. If the weights are missing, the error shows up in the UI instead of crashing at start-up. |
| run(img, params) | Runs steps 1→5 in order, times each step, builds all the display images and returns a PipelineResult | One function that the UI calls. The UI does not need to know the internal details. |
| _limit_size(img) | Shrinks images larger than 4096 px and adds a warning with the area correction factor | A 4096 px image already uses 5.2 GB of GPU memory. The warning tells the user that areas are now in downscaled pixels. |
| _prob(...) | Runs the U-Net, but caches the result. The cache key is a SHA-1 hash of the image + clip + blur. | The U-Net is the slowest step. When the user only moves τ, kernel, peak ratio and similar sliders, the U-Net result is reused, so the update is almost instant. |
| _validate_params, _is_int | Check every slider value | Bad values give a readable message. |

5. utils/: helpers

5.1 utils/device.py

| Function | What it does | Why I made it |
| --- | --- | --- |
| get_device() | Returns CUDA if a GPU is available, otherwise CPU, and logs the choice once | The program runs on any computer. It also checks device_count() > 0, because on Windows torch can report CUDA as available when there are 0 devices. |
| device_label(device) | Returns “CUDA (GPU)” or “CPU” | Shown in the top bar of the UI. |

5.2 utils/logger.py

| Function | What it does | Why I made it |
| --- | --- | --- |
| get_logger(name) | Creates a logger that writes to the console and to outputs/app.log without duplicate lines | Keeps a record of every run for debugging. |
| stage_timer(logger, stage) | Logs how long a step took. If the step fails, it logs the full error and raises it again. | Shows which step is slow. The full error details go to the log file, not to the user. |

5.3 utils/metrics.py — evaluation

| Function | What it measures | Why I made it |
| --- | --- | --- |
| iou(pred, gt) | Overlap ÷ union of two masks | Standard segmentation metric. |
| dice(pred, gt) | 2 × overlap ÷ (size A + size B) | Standard segmentation metric; the main metric for training. |
| psnr(a, b) | Peak signal-to-noise ratio in dB | Required by the assignment. Used in the ablation. |
| ssim(a, b) | Structural similarity | Required by the assignment. Used in the ablation. |
| count_error(pred, gt) | ¦predicted count − true count¦ ÷ true count × 100 % | Counting is the main goal, so it needs its own metric. |
| cell_precision_recall(...) | Matches predicted cells to true cells one-to-one (IoU ≥ 0.5) | Pixel Dice can be high even when two cells are merged into one. This metric checks every cell individually. |
| _binary_pair, _image_pair | Input checks | Example: mixing uint8 and float images would give wrong PSNR values. |

5.4 utils/visualize.py — images for the UI

| Function | What it does | Why I made it |
| --- | --- | --- |
| _lut(name) | Builds a colour table from a matplotlib colormap | Fast colouring. |
| prob_heatmap(prob) | Colours the probability map (viridis) on a fixed 0–1 scale | Colours mean the same thing in every image, so the user can choose τ visually. |
| mask_view(mask) | White cells on a black background | Shows step 3. |
| distance_map_view(dist, labels) | Grayscale distance map with red dots at the seeds | Shows where the watershed started for each cell. |
| overlay_contours(img, labels, cells) | Green outline and a white number (black border) on every cell. Size adjusts to the image. | The main result image. The text stays readable on both small and large images. |
| to_rgb_uint8(img) | Converts any image to standard RGB 8-bit | One conversion shared by the whole program. |
| _check_2d, _check_labels | Input checks | Clear errors. |

6. training/: how the U-Net was trained

Dataset: Data Science Bowl 2018 (670 images of nuclei, many image types).

6.1 training/dataset.py

| Function | What it does | Why I made it |
| --- | --- | --- |
| split_ids(root) | Splits the images 80 % train / 10 % validation / 10 % test, using a fixed seed of 42 | The split is the same every time. The test set is never used for training or for tuning, so the results are honest. |
| read_rgb(path) | Reads a PNG as RGB | Removes the alpha channel and handles gray images. |
| read_instances(dir) | Combines the separate per-nucleus mask files into one label image | The dataset stores one PNG per nucleus. |
| DSB2018Dataset.__init__ | Loads, preprocesses and resizes every image to 256×256 once, then keeps them in RAM | Reading hundreds of mask PNGs every epoch is slow. The cache uses about 90 MB. |
| __len__, __getitem__ | Returns one (image, mask) pair, with augmentation when training | Required by PyTorch’s DataLoader. |
| _build_aug() | Random flips, 90° rotations, elastic deformation, brightness/contrast changes | Creates more training variety and reduces overfitting. Cells look the same in every orientation. |

6.2 training/losses.py

| Function | What it does | Why I made it |
| --- | --- | --- |
| BCEDiceLoss.forward | Loss = BCE + (1 − Dice) | BCE learns each pixel correctly. Dice handles the imbalance (much more background than cell) and focuses on the shape overlap. |

6.3 training/train.py

| Function | What it does | Why I made it |
| --- | --- | --- |
| parse_args() | Command-line options: epochs, batch, lr, patience… | Lets me change training settings without editing the code. |
| _seed_everything(seed) | Fixes the random seeds | Results can be reproduced. |
| _limit(ds, n) | Uses only N images | Quick test runs before a full training. |
| _run_epoch(...) | One pass over the data: trains, or evaluates IoU/Dice. Uses mixed precision (AMP) on GPU. | Core loop. AMP makes training faster (3.6 s per epoch on an RTX 2060 SUPER). |
| _save_history(history) | Saves a CSV plus loss and Dice curves (train_curves.png) | Shows training progress for the report. |
| _evaluate_test(...) | Tests the best model at 256 px and through the real full pipeline at original size | The app works at original size, so 256 px metrics alone would be misleading. |
| train() | Adam optimiser, lr 1e-4, batch 8, up to 50 epochs. Early stopping after 8 epochs without improvement. Keeps the epoch with the best validation Dice. | Prevents overfitting and keeps the best model. |

7. Experiments

7.1 tuning.py — finding the best default parameters

| Function | What it does | Why I made it |
| --- | --- | --- |
| GRID | 3 × 2 × 4 × 4 × 3 = 288 parameter combinations | Search systematically instead of guessing. |
| load_split(data, split) | Runs the U-Net once per image | Only the cheap steps are repeated for each setting, so the search is fast. |
| evaluate(samples, p) | Mean precision, recall, F1, count error and Dice | Scores one setting. |
| main() | Finds the best setting on validation, then reports default vs. best on test | Choosing parameters on the test set would be cheating. |

Result: the defaults changed to kernel 5→3 and min_area 50→20. Test F1 went from 0.823 to 0.852, and median count error went from 10 % to 6.9 %.

7.2 ablation.py — comparing parameter sets

| Function | What it does | Why I made it |
| --- | --- | --- |
| SETS | A lenient, B mockup, C strict, D tuned | Shows how the parameters change the result. |
| run_ablation() | Runs all 4 sets on the dense touching-cells sample and records count, IoU, Dice, PSNR, SSIM, precision, recall and runtime | Produces the table for the report. |
| _save_figure(...) | Puts the ground truth and the 4 results side by side (ablation.png) | Visual comparison. |
| _gt_view(...) | Draws the true cell borders in yellow | Reference image. |

8. app.py: the user interface (Gradio)

Layout: left = image upload + samples; middle = results; right = settings.

| Item | What it does | Why I made it |
| --- | --- | --- |
| PARAM_GROUPS | Sliders in 3 groups (Detection / Splitting touching cells / Image cleanup), each with a help text | Users understand what each slider does. |
| PRESETS | Ready-made settings: Balanced, Faint, Dense, Sparse, Noisy | Beginners don’t need to understand every slider. |
| LAYERS | The list of images in the viewer dropdown | Switch between the steps in one viewer. |
| _icon(name) | Small SVG icons | Status messages (ok / warning / error). |
| _sample_images() | Lists the images in samples/ | Clickable example images for a quick demo. |
| _out_image, _heading | Small builders for images and headings | Avoid repeating code. |
| _summary_html(...) | Summary strip: cell count, mean, median, std, area range | The key numbers at the top. |
| _status_html(...) | Green, yellow or red message box | Tells the user what happened. Text is HTML-escaped for safety. |
| _preset_values, _preset_hint | Slider values and a one-line description for a preset | Used by the preset dropdown. |
| _empty(status) | Clears all outputs | Used after errors and after Reset. |
| build_ui() | Builds the whole page | Main UI function. |
| ↳ segment(img, *sliders) | Runs the pipeline, saves a CSV with a timestamp, fills every output. Catches all errors. | The app never crashes: the user sees a message and the details go to app.log. The millisecond timestamp stops quick reruns from overwriting each other’s CSV files. |
| ↳ show_layer(...) | Changes the image shown in the viewer | Compare the steps. |
| ↳ apply_preset(name) | Moves the sliders to the preset’s values | Presets. Moving a slider by hand switches the preset to “Custom”. |
| ↳ reset() | Restores the defaults and clears the results | Start over. |
| TOGGLE_THEME_JS, RESTORE_THEME_JS | Dark/light mode, remembered by the browser | User comfort. |
| launch(127.0.0.1:7860) | Starts the server on this computer only | A local tool, so it is not exposed to the network for safety. |

Tabs: Result (viewer + histogram + CSV), Pipeline stages (4 intermediate images), Measurements (table), How it works (guide).

9. tests/: 36 automatic tests

There are tests for preprocess, postprocess, watershed, analysis, metrics, visualize and the full pipeline. They use a fake U-Net and a synthetic image of 5 discs whose correct count is known exactly.

Why: they run in under 5 seconds with no GPU, no weights and no dataset, and they prove each function is correct.

10. Final results (test split, 67 unseen images)

| Metric | Value |
| --- | --- |
| Dice (256 px) | 0.914 |
| Dice (full pipeline, original size) | 0.907 |
| IoU (full pipeline) | 0.836 |
| Cell precision @ IoU 0.5 | 0.870 |
| Cell recall @ IoU 0.5 | 0.780 |
| Best epoch | 20 |
| Test F1 after tuning | 0.823 → 0.852 |
| Median count error after tuning | 10 % → 6.9 % |

11. Summary

My software counts and measures cells in microscope images. The main steps are:

- CLAHE and a blur improve the contrast.

- A U-Net with a pretrained ResNet34 encoder, which I trained on the Data Science Bowl 2018 dataset, gives a cell probability for each pixel.

- A threshold and morphology turn this into a clean mask.

- Because the U-Net cannot separate touching cells, a distance transform and watershed split them.

- Each cell is numbered, measured, and shown in a histogram and a CSV file.

I tuned the parameters on the validation set with a 288-setting grid search and reported the results on the test set: Dice 0.91, and F1 improved from 0.823 to 0.852. The Gradio interface shows every intermediate step, has presets and help text, and never crashes on bad input.